## Unit Tests
Test Case Id | Test Case Name | Description | Pre- conditions | Action | Expected Result | Actual Result | Status | Comments
1 | MetricsTest | tests the MSESSIM functionality on the same 3D-object | input for the MSESSIM method requires two 3D-objects | calculates the mutual difference and similarity between the input objects | if the two 3D-objects passed are same then SSIM should be 1 and MSE is 0 | MSE = 0 and SSIM = 1.0 | Pass
2 | PatternTunableTest | generates two pattern components of 3-slit tunable simulation and compares the jm pattern with expected value | input is the Settings data structure | calculates the im and jm values | jm(1,2,1,1,1,2) == cos(pi) | jm(1,2,1,1,1,2) == cos(pi) | Pass
3 | ForwardModelTest | compares the forward model output with expected value using convolution | input is the Settings data structure | generates "g" 5D matrix using SphericalShell object and the high resolution PSF "h" and modulating patterns "im , jm" | MSE = 0 , SSIM = 1 | MSE = 0.0140, SSIM = 0.8389 | Diff
4 | InverseTest | constructs the restoration object and compares the simulated object with restoration object | input is the Settings data structure | generates the restoration object with 10 iterations | MSE = 0 , SSIM = 1 | MSE = 0.0055, SSIM = 0.8994 | Diff
5 | InverseTest on HPC | constructs the restoration object and compares the simulated object with restoration object | input is the Settings data structure | generates the restoration object with 200 iterations | MSE = 0 , SSIM = 1 | MSE = 3.9908e-05, SSIM = 0.9993 | Diff
6 | HPCSimTunableStarLikeMB | constructs the restoration object for StarLikeSample and compares with Star object, also generates matrix passing restoration image as input to forward model and compares with the previous output of forward model | input is the Settings data structure | generates the restoration object with 10 iterations | MSE = 0 , SSIM = 1 | MSE = 0.0025, SSIM = 0.6524 | Diff
|  |  |  | simulates the restoration object which was obtained after 10 iterations | MSE = 0 , SSIM = 1 | MSE = 4.7556e-07, SSIM = 0.9990 | Diff